ANNEXURE-[[H03]]

Test Report No.: ECT/16018/BC/ [[TCNo]] 						Date: [[TCDate2]]

Resistance to Corrosion (External) test as per Clause 6.6

Sample Quantity: One sample from the same family

Test method:

- Subject fully charged extinguishers, to a salt spray test for a period of 120 hrs.

- Drying period of at least 24 h at room temperature

- Carefully wash the extinguisher to remove any salt deposits

| [[ProductDesc]] |  |  |  |
| --- | --- | --- | --- |
| Sr. Nos. | Capacity | Cylinder Sr. Nos. | Date |
| 1 | [[Cap1]] | [[SrNo1_4]] | [[TCDate2]] |
| 2 | [[Cap2]] | [[SrNo2_4]] | [[TCDate2]] |
| 3 | [[Cap3]] | [[SrNo3_4]] | [[TCDate2]] |

Observations:

| Type of check | Requirement | Result |
| --- | --- | --- |
| Mechanical operation of all working parts | Shall be unimpaired | Found satisfactorily |
| The pressure gauge (if fitted) | Shall remain functional and water tight | No Pressure Gauge provided |
| Corrosion of the metal | - Shall be no corrosion of the metal of extinguisher body - Discoloration/superficial corrosion of non-ferrous metal is acceptable - Galvanic corrosion between dissimilar metals shall not be permitted | Found satisfactorily |
| Minimum effective discharge time and method of operation | Shall comply specified requirements | Found satisfactorily |