ANNEXURE-[[H06]]

Test Report No.: FTB/16018/BC/ [[TCNo]] 						Date: [[TCDate2]]

Class B rating suitability test as per Clause 7.3

Test Requirements as per IS 16018:2012 Clause 7.3

Operator’s clothing- Shoes, helmet, visor, gloves, etc.

Observations:

| [[ProductDesc]] |  |  |  |
| --- | --- | --- | --- |
| Sr.No. | Capacity | Cylinder Sr. Nos. | Fire Rating |
| 1 | [[Cap1]] | [[SrNo1_8]] | 20B |
| 2 | [[Cap2]] | [[SrNo2_8]] | 20B |
| 3 | [[Cap3]] | [[SrNo3_8]] |  |

| Sr. No. | Particulars | Requirements | Remarks |
| --- | --- | --- | --- |
| 01 | Addition of liquid (Volume of liquid) | Max. liquid depth 50mm Min. Heptane depth 15mm | Found Satisfactorily |
|  | Extinguishment | All flames shall be extinguished | Found Satisfactorily |
| 02 | Addition of liquid (Volume of liquid) | Max. liquid depth 50mm Min. Heptane depth 15mm | Found Satisfactorily |
|  | Extinguishment | All flames shall be extinguished | Found Satisfactorily |