Kanadia Fyr Fyter Pvt Ltd		 Page 1 of 1

      
                                                                                 ANNEXURE-[[H07]]
Test Report No.: PMST/16018/BC/ [[TCNo]]  					Date: [[TCDate3]]

Maximum Service Pressure test as per Clause 8.1.1 & 8.1.2

   
     Conditions: 
      
Minimum Three Extinguishers
Condition the extinguisher for 18 h at a temperature 55 °C ± 5 °C
For cartridge operated extinguishers activate the cartridge immediately and record the pressure observed

Observations:

	[[ProductDesc]]

	Sr.No.
	Capacity 
	Cylinder Sr. Nos.
	Start time of conditioning
	End time of conditioning
	Observed PMS (in bar)
	Remarks

	1
	[[Cap1]]
	[[SrNo1_9]]
	[[TCDate2]]
	[[TCDate3]]
	[[R]:R17-18] bar
	Pass

	2
	
	[[SrNo1_10]]
	
	
	[[R]:R17-18] bar
	Pass

	3
	
	[[SrNo1_11]]
	4.30 pm
	10.30 am
	[[R]:R17-18] bar
	Pass

	4
	[[Cap2]]
	[[SrNo2_9]]
	[[TCDate2]]
	[[TCDate3]]
	[[R]:R18-19] bar
	Pass

	5
	
	[[SrNo2_10]]
	
	
	[[R]:R17-18] bar
	Pass

	6
	
	[[SrNo2_11]]
	4.30 pm 
	10.30 am
	[[R]:R18-19] bar
	Pass

	7
	[[Cap3]]
	[[SrNo3_9]]
	[[TCDate2]]
	[[TCDate3]]
	[[R]:R18-19] bar
	Pass

	8
	
	[[SrNo3_10]]
	
	
	[[R]:R17-18] bar
	Pass

	9
	
	[[SrNo3_11]]
	4.30 pm
	10.30 am
	[[R]:R18-19] bar
	Pass
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