ANNEXURE-[[H07]]

Test Report No.: PMST/16018/BC/ [[TCNo]]  					Date: [[TCDate3]]

Maximum Service Pressure test as per Clause 8.1.1 & 8.1.2

Conditions:

Minimum Three Extinguishers

Condition the extinguisher for 18 h at a temperature 55 °C ± 5 °C

For cartridge operated extinguishers activate the cartridge immediately and record the pressure observed

Observations:

| [[ProductDesc]] |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sr.No. | Capacity | Cylinder Sr. Nos. | Start time of conditioning | End time of conditioning | Observed PMS (in bar) | Remarks |
| 1 | [[Cap1]] | [[SrNo1_9]] | [[TCDate2]] | [[TCDate3]] | [[R]:R17-18] bar | Pass |
| 2 |  | [[SrNo1_10]] |  |  | [[R]:R17-18] bar | Pass |
| 3 |  | [[SrNo1_11]] | 4.30 pm | 10.30 am | [[R]:R17-18] bar | Pass |
| 4 | [[Cap2]] | [[SrNo2_9]] | [[TCDate2]] | [[TCDate3]] | [[R]:R18-19] bar | Pass |
| 5 |  | [[SrNo2_10]] |  |  | [[R]:R17-18] bar | Pass |
| 6 |  | [[SrNo2_11]] | 4.30 pm | 10.30 am | [[R]:R18-19] bar | Pass |
| 7 | [[Cap3]] | [[SrNo3_9]] | [[TCDate2]] | [[TCDate3]] | [[R]:R18-19] bar | Pass |
| 8 |  | [[SrNo3_10]] |  |  | [[R]:R17-18] bar | Pass |
| 9 |  | [[SrNo3_11]] | 4.30 pm | 10.30 am | [[R]:R18-19] bar | Pass |