Test Report No.: TPT/ [[TCNo]]		            						Date: [[TCDate2]]

ANNEXURE-[[M05]]

Tapping Test as per Clause 7.7

Test Method:

Normally charged extinguisher held in vertical position and dropped vertical 500 times from a height of 15 mm at a frequency of 1 Hz onto a rigid horizontal steel plate.

The extinguisher is to be removed from the test apparatus with a minimum amount of agitation, held in its normal working position and operated.

Note: for Cartridge extinguishers, pressure of cartridge is allowed to build for 6s after piercing before opening the control valve.

Test parameters:

- Frequency: 1 Hz, Height of dropping: 20mm, No. of dropping: 500 times

- Commence discharge within 5 s of the opening of the control valve

| [[ProductDesc]] | [[Cap1]] | [[Cap2]] | [[Cap3]] | [[Cap4]] | [[Cap5]] |
| --- | --- | --- | --- | --- | --- |
| Cylinder Sr. Nos. | [[SrNo1_6]] | [[SrNo2_6]] | [[SrNo3_6]] | [[SrNo4_6]] | [[SrNo5_6]] |

Observations:

| Cylinders Sr. No. | Retain percentage |  | Remarks |
| --- | --- | --- | --- |
|  | Requirement | Observation |  |
| [[SrNo1_6]] | Not more than 15% | [[R]:R5-6] % | Pass |
| [[SrNo2_6]] |  | [[R]:R5-6] % | Pass |
| [[SrNo3_6]] |  | [[R]:R5-6] % | Pass |
| [[SrNo4_6]] |  | [[R]:R5-6] % | Pass |
| [[SrNo5_6]] |  | [[R]:R4-6] % | Pass |