Test Report No.: PMST/ [[TCNo]]		         					 Date: [[TCDate2]]

ANNEXURE-[[M07]]

Determination of Maximum Service Pressure (PMS) Clause 9.2.1.8

Test Method:

Condition the extinguisher for 18 h at a temperature 60±5 °C.

For stored pressure extinguishers determine the pressure immediately after taking each extinguisher out of the oven.

For cartridge operated extinguishers activate the cartridge immediately

Requirement:

For each type of extinguishers the highest pressure observed during test is recorded as the maximum service pressure.

Observations:

| [[ProductDesc]] | Cylinder Sr. Nos. | Start and end time of conditioning | Observed PMS (in bar) |
| --- | --- | --- | --- |
| [[Cap1]] | [[SrNo1_8]] | 4:15 PM To 10:15 AM | [[R]:R17-20] |
| [[Cap2]] | [[SrNo2_8]] |  | [[R]:R17-20] |
| [[Cap3]] | [[SrNo3_8]] |  | [[R]:R17-20] |
| [[Cap4]] | [[SrNo4_8]] |  | [[R]:R17-20] |
| [[Cap5]] | [[SrNo5_8]] |  | [[R]:R17-20] |