Test Report No.: [[TCNo]]		           						Date: [[TCDate3]]

ANNEXURE-[[M12]]

Class ‘A’ Test Fire Clause 8.3

Test method, Procedure and requirements:

Operator’s clothing- Operator shall wear Shoes, helmet, visor and gloves.

Location: Cl. No. 8.3.1 of IS 15683:2018

Air Inlet Opening- provided as per table 5 Cl. 8.31 of IS 15683:2018

Construction of Wood crib- as per table 6 of Cl. No. 8.3.2 of IS 15683:2018

Ignition Pan Size and fuel quality- as per table 7 of Cl. No. 8.3.2 of IS 15683:2018

Requirements for extinguishment Cl. 8.2.2 (a):

All flames are extinguished. There shall be no flames visible 3 min. after complete discharge of the extinguisher. The appearance of non persistent flames during the 3 min period shall be ignored. Non persistent flames are defined as less than 50 mm in height and less than 1 min duration; if the crib collapses during the test, it shall be considered as void and fresh test carried out.

Observations:

| [[ProductDesc]] | [[Cap1]] | [[Cap2]] | [[Cap3]] | [[Cap4]] | [[Cap5]] |
| --- | --- | --- | --- | --- | --- |
| Cylinder Sr. No. | [[SrNo1_12]] | [[SrNo2_12]] | [[SrNo3_12]] | [[SrNo4_12]] | [[SrNo5_12]] |
| Fire Rating | 1A | 2A | 3A | 4A | 6A |
| Observation |  |  |  |  |  |
| No flames visible 10min after complete discharge | Pass | Pass | Pass | Pass | Pass |
| Non-persistent flames shall be ignored | Pass | Pass | Pass | Pass | Pass |