Test Report No.: FTB/ [[TCNo]]	           						Date: [[TCDate3]]

ANNEXURE-[[M13]]

Class ‘B’ Test Fire Clause 8.4

Test method, Procedure and requirements:

Operator’s clothing- Operator shall wear Shoes, helmet, visor and gloves.

Location: Cl. No. 8.4.1 of IS 15683:2018

Construction - as per table 8 of Cl. No. 8.4.2 of IS 15683:2018

Fuel: Commercial grade n-heptane having an boiling point of not less than 88⁰C and final boiling point not more than 105.

Test Requirements: All flames are extinguished

Observations:

| [[ProductDesc]] | [[Cap1]] | [[Cap2]] | [[Cap3]] | [[Cap4]] | [[Cap5]] |
| --- | --- | --- | --- | --- | --- |
| Cylinder Sr. No. | [[SrNo1_13]] | [[SrNo2_13]] | [[SrNo3_13]] | [[SrNo4_13]] | [[SrNo5_13]] |
| Fire Rating | 21B | 34B | 89B | 144B | 183B |
| Observation |  |  |  |  |  |
| Liquid depth (water + heptane) | 50 mm |  |  |  |  |
| No flames visible 10min after complete discharge | Pass |  |  |  |  |
| Non-persistent flames shall be ignored | All flames extinguished |  |  |  |  |