Test Report No.: FTF/[[TCNo]]		           					Date: [[TCDate3]]

ANNEXURE-[[M14]]

Class ‘F’ Test Fire Clause 8.6

Test method, Procedure and requirements:

Operator’s clothing- Operator shall wear Shoes, helmet, visor and gloves.

Location: Cl. No. 8.6.1 of IS 15683:2018

Construction of apparatus- as per Fig. 3/4 of Cl. No. 8.6.2 of IS 15683:2018

Ignition tray Size and fuel quality- as per of Cl. No. 8.6.3 of IS 15683:2018

Requirements for extinguishment Cl. 8.2.2 (c):

All flames are extinguished. There shall be no re-ignition of the vegetable oil for 3 minutes after discharge.

Observations:

| [[ProductDesc]] | [[Cap1]] | [[Cap2]] | [[Cap3]] | [[Cap4]] | [[Cap5]] |
| --- | --- | --- | --- | --- | --- |
| Cylinder Sr. No. | [[SrNo1_14]] | [[SrNo2_14]] | [[SrNo3_14]] | [[SrNo4_14]] | [[SrNo5_14]] |
| Fire Rating | 5F | 5F | 15F | 25F | 75F |
| Observation |  |  |  |  |  |
| No flames visible 3 min after complete discharge |  | No flames visible |  |  |  |
| No re-ignition of vegetable oil for 3 minutes after discharge. |  | No re-ignition |  |  |  |