Test Report No.: FST/[[TCNo]]		           						Date: [[TCDate3]]

ANNEXURE-[[M15]]

Class ‘F’ Splash Test Fire Clause 8.7

Test Method:

Operate the conditioned extinguishers towards the center of the tray which is covered with a layer of sodium bicarbonate not more than 2 mm deep.

Test requirement:

The discharge from the extinguishers when tested in accordance with Cl 8.7.1 to 8.7.4 shall not splash grease droplets in excess of 5 mm diameter.

Test procedure:

Condition the fully charged extinguishers at 5⁰C and 60⁰C, each at minimum 18 hr.

| Store Temperature | Duration | Start Time | End Time |
| --- | --- | --- | --- |
| 5 °C | 18 h | 10:30 AM | 04:30 AM |
| 60 °C | 18 h | 04:30 AM | 10:30 AM |

Observations:

| [[ProductDesc]] | [[Cap1]] | [[Cap2]] | [[Cap3]] | [[Cap4]] | [[Cap5]] |
| --- | --- | --- | --- | --- | --- |
| Cylinder Sr. No. (5 °C) | [[SrNo1_15]] | [[SrNo2_15]] | [[SrNo3_15]] | [[SrNo4_15]] | [[SrNo5_15]] |
| Observation | Pass | Pass | Pass | Pass | Pass |
| Cylinder Sr. No. (60°C) | [[SrNo1_16]] | [[SrNo2_16]] | [[SrNo3_16]] | [[SrNo4_16]] | [[SrNo5_16]] |
| Observation | Pass | Pass | Pass | Pass | Pass |